July 6th and 7th: All roots were weighed except for S4 (because they were too big so they need to be split into 2x 50 mL tubes)

July 9th: F5 was extracted. After the Bead solution+C1 step, 700 uL were taken into 1 group and 700 uL into a second group that were handled equally except for the fact that 1 group was eluted in 50 uL and one in 100 uL. Because the yields are roughly the half in the 100 uL group compared to the 50 uL, it is decided that 50 uL is the elution amount for the next extraction days. In the second half of the plate 713 and 705 were switched by accident at the moment of loading the plate with the samples.

July 12th: F4 and M8 were extracted using the same plate but in two separate rounds. For F4 1 mL was used at the BS+C1 step but for some samples, it was not enough to collect 700 uL afterwards. Because of this it was decided that for all samples the minimum volume applied has to be 1.5 mL. There was one problem with M8: When I loaded the KF I did not remove the plastic coverage we had put on the elution plate. The tips of the KF hit on this plastic sheet and the KF reported an error. Marcela and I were at the KF at the moment and immediately removed the plastic layer and programmed the KF to do only the elution step that could not be completed before. After this we noticed that there was a pattern in the plate, whereby some samples in the middle look darker than some samples in the outer positions of the plate. This pattern was related to the nanodrop measurements in the sense that darker samples had considerably higher DNA concentration. Taking this into account we discussed and decided that we can send the samples like this and see what happens, or alternatively re extract DNA from the re-stored samples (The leftovers from the BS+ C1 step).

July 13th: F6, M1 and M3 were extracted.

July 14th: F11 and M6 were extracted. Sample 780 was there even though It had not been weighed and was not part of the weights list. We believe it was skipped by accident on the weighing day. Because there were no extra wells in this map it was decided to extract this sample along with those of plate M2S6 that had one extra well left.

July 15th: F7 and S10, and M11 and S3 were extracted. M11 and S3 were put in the KF at 5, so at 6 when it was removed from the KF it was covered and placed in the fridge overnight and measured on July 16th. With F7 lower concentrations were found than with S10, this caused Pedro to think maybe it was because we are adding 1,5 mL to tubes calculated for 0,8 mL and that we might be diluting the samples in the initial steps (since F7 was mostly 0,8 mL). However, on Friday, Zulema and I checked the concentrations of S10 that were consistently higher than F7, and we looked at those measurements from S10 samples that were added 1,5 mL instead of 0,8. These were similar or even higher than the samples that got the normal amount of BS+C1 according to the root weight. Therefore we decided that it makes more sense to continue adding 1,5 mL instead of 1 mL to guarantee there is enough liquid to take 700 uL for the C2 solution, since it does not seem to have an diluting effect on the final yield.

July 16th: S2 was extracted.

July 19th: S4 was extracted using the second half from the plates used for M3. Samples from S4 were divided into two 50 mL tubes and 7(x2) tubes were weighed. They were between 15,52 and 19,94, so it was decided to add 18 mL of BS+C1 solution to all of them. In the afternoon F2-M6 were extracted, sample 780 was included at position H12 because it was missing in the weights list and could not be extracted with its respective family. It was very heavy so it was distributed in two falcon tubes each eighing around 3 mL so 10 mL of BS+C1 were added.

July 20th: Plate F8-F9 was extracted left in the fridge overnight and measured on the next day. Well A1 from sample 1105 was accidentally mixed with sample 1249. Because of this, only 200 uL were left and could be loaded of sample 1249. Plate F1F2 was extracted, blank from F2 was missing and replaced with only KF buffers blank.

July 21st: F10F3 plate and M9 plate were extracted.

July 22nd: Plate M4M5 was extracted. Sample 494 was missing even though it was in the map and the weights list. This well now corresponds to a blank of just buffers. Plate M7S11 was extracted.

July 23rd: Plate S5_S7 was extracted. Sample 889 was empty, it was replaced with sample 1630.

19/Aug: Sample 1614 (S12 plate) had a tube broken inside the centrifuge; could be contaminated.

19/ Aug : Sample 1630 (S12 plate) empty, plate has buffer only. Real sample 1630 present in plate S5_S7, position 10A

20/Aug: samples top_1600, top_1611, top_1632 in plate S12+Topspoil_3 were more diluted by accident and had lower nanodrop readings

Aug/23: Topsoil_1 was placed on first half of the plate (columns 1-6) along with topsoil_2 (columns 7-12) (tposoil1_topsoil2 plate)

Aug/23: sample top_54 had lower volume after the C3 step, but this did not reduce nanodrop yield

To be done:

Final map of the plates (Including the information in this log, for instance 703 and 713 switched on July 9th)